Zonal Office, Salt Lake

3 & 4 DD Block, 1st Floor, Sector-1, Salt Lake, Kolkata-64

Notice for Limited Tender for

Repairing & Renovation of Electrical Installation of Howrah Branch

Cost of the Tender document: - 250/- (Rupees Two hundred fifty only)

The information provided by the bidders in response to this Limited Tender Document will become the property of the Bank and will not be returned. The Bank reserves the right to amend, rescind or reissue this TENDER Document and all amendments will be advised to the bidders and such amendments will be binding on them. The Bank also reserves its right to accept or reject any or all the responses to this TENDER Document without assigning any reason whatsoever.

This document is prepared by UCO Bank for conducting Limited Tender among the empanelled Electrical vendors of our Bank for urgent renovation & repairing works of Electrical Installation of our Howrah Branch.

Branch ( SOL ID-0065) under Zonal Office Salt Lake.

for urgent renovation & repairing works of Electrical Installation of our Howrah

Branch ( SOL ID-0065) under Zonal Office Salt Lake.

(Ref. -Tender No-ZOSL/SEC/2024/368  dated  09/08/2024)

Disclaimer

While the document has been prepared in good faith, no representation or warranty , express or implied, is or will be made, and no responsibility or liability will be accepted by UCO Bank or any of its employees, in relation to the accuracy or completeness of this  document and any liability thereof expressly disclaimed. The Limited Tender  is not an offer by UCO Bank, but an invitation for bidder’s responses. No contractual obligation on behalf of UCO Bank, whatsoever, shall arise from the offer process unless and until a formal contract is signed and executed by duly authorized officials of UCO Bank and the Bidder.

This Limited Tender  is not exhaustive in describing the functions, activities, responsibilities and services for which vendor will be responsible. The bidders, by participating in this tender, implicitly confirm that if any functions, activities, responsibilities or services which are either not specifically described in this Limited Tender or specifically described but has to undergo suitable changes/modifications due to regulatory/statutory changes and are termed necessary by the Bank for the proper performance of the Contract, such functions, activities, responsibilities or services (with applicable changes, if any) will be deemed to be implied by and included within the scope of services under this Tender  and Bidder’s response to the same extent and in the same manner as if specifically described in this e-Tender  and Bidder’s response.

OBJECTIVES

UCO Bank, a body corporate, established under the Banking Companies

(Acquisition and Transfer of Undertakings) Act 1970, having its Head Office at 10,

B.T.M. Sarani, Kolkata-700001, India, and its Zonal Office, located at 3 & 4,DD Block

Salt lake, Kolkata-700064, hereinafter called “the Bank”, is one of the leading

public sector Banks in India .

The Zonal Office, Salt Lake of UCO Bank wants to engage selected vendor

through Limited Tender among the empanelled Electrical vendors of our Bank

for urgent renovation & repairing works of Electrical Installation of our Howrah

Branch ( SOL ID-0065) under Zonal Office Salt Lake.

Accordingly, UCO Bank, Zonal Office Salt Lake  invites response from empanelled

vendors for Electrical works with proven capabilities for repairing & renovation

work for our Howrah Branch.

Only those bidders, who are empanelled with our Bank ( HO or ZO Kolkata or

ZO Hooghly ) need to respond.

UCO Bank , Zonal Office Salt Lake has also arranged to uploaded this Limited

Tender on  Bank’s website for wide publicity.

Part –I   General  Terms and Conditions

- Introduction

UCO Bank, Zonal Office Salt Lake invites limited tender comprising only Commercial bid from empanelled vendors for and having their own offices  in & around Kolkata having valid Electrical License for the state of West Bengal. It is also expected that the vendors have trained staff  & supervisors.

The bidder (also called the vendor or bidder through this document) appointed under the tender document shall own the single point responsibility for fulfilling all obligations and providing all deliverables and services required for successful implementation of the project- Repairing & Renovation of Electrical Installations with ISI Mark material & Energy Efficient equipment .

Unless agreed to specifically by the Bank in writing for any changes in the document issued, the bidder responses should comply with the scope of work. Unless expressly overridden by the specific agreement to be entered into between the Bank and the bidder, the Tender  document shall be the governing document for arrangement between the Bank and the Selected bidder in terms of this Tender documents.

The Tender  document may be obtained from UCO Bank, Zonal Office, Salt Lake  located at 1st Floor, 3 & 4, D D Block, Kolkata–700064 on working days in person on submission of cost of the tender document. Also the Tender  document may be downloaded from our website www.ucobank.com. The bidders downloading the document from Bank’s website www.ucobank.com must pay the cost of the document, in a separate cover and properly superscribed, at the time of submission of the bids.

The details are given below:

| Tender Reference | ZOSL/SEC/2024/368 - Dated 09/08/2024 |
| --- | --- |
| Cost of Tender documents | `Rs 250/-Non-Refundable |
| Date of issue of e-Tender | 09/08/2024 |
| Earnest Money Deposit (EMD) | Rs 5000/-(In the form of DD) |
| Date of commencement of sale of tender document | 09/08/2024 |
| Last date for submitting queries for the Pre-bid Meeting | 14/08/2024 |
| Pre-Bid meeting /Venue | 14/08/2024 at 14.30 pm at below mentioned address. |
| Last Date and Time for receipts of tender bids | 17/08/2024 at 14.30 hrs |
| Time of Site Visit | On any working day up to 17/08/2024 |
| Opening of Price Bid | 17/08/2024 at 16.30 hrs |
| Address of Communication | UCO Bank , Zonal Office, Salt Lake 3 & 4 DD Block, Salt Lake,Kolkata-700 064 |
| Email address | zosaltlake.sec@ucobank.co.in |
| Contact Telephone/Fax Numbers | Tel :033-4455-9166 |
| EMD-DD to be submitted | Tender box placed at above address |

Any bid received after last date and time of the receipt of bids prescribed as mentioned above, will not be accepted by the Bank.

Bidders should also submit requisite Tender Fee and EMD amount in the form of DD in favour of UCO Bank payable at Kolkata within the schedule time of last date for submission of bids.

The bidders should take care of submitting the bids which should be  readable without any clutter or fog or friction.

Bidders are requested to participate in the limited tender process strictly according to the time schedule mentioned above.

The Commercial/Price Bids of only those short-listed-bidders, who have submitted tender fee & EMD amount on the date as per given schedule.

The Bids should be addressed to:

The AGM & Zonal Head

Zonal Office Salt lake, UCO Bank

3 & 4, DD Block, Salt lake

Kolkata - 700 064

UCO Bank is not responsible for non-receipt of response to TENDER within the specified date and time due to any reason. In case the specified date of submission & opening of Bids is declared  holiday in West Bengal under NI Act, the bids will be received till the specified time on next working day and Technical Bid will be opened at same  time on the next day.

Bids once submitted will be treated as final and no further correspondence will be entertained on this. No bid will be modified after the target date & time for submission of bids. No bidder shall be allowed to withdraw the bid.

- Submission of Bid

    - Bid should be duly signed by bidder/ authorized signatory in the letter pad of the bidder. Documents should be stamped & signed by bidder.

    - Bid should comply with the Scope of work as specified hereinafter.

1.2.3	The bid should be complete in all respects and contain all information asked for, except prices.

1.2.4     Commercial bid duly sealed and signed by the bidder/ authorized

Signatory of bidder in the given format.

1.2.6.  Incomplete bids or bids not conforming to the terms and conditions are

liable for rejection by the Bank.

1.2.7 	At any time, prior to deadline for submission of Tender  , Bank may modify any of the terms & conditions and technical specifications at its sole discretion and the same will be available on Bank’s website and the amendments shall be binding on the bidder. In case of any amendment, UCO Bank may extend the deadline for submission of response to this Limited Tender  in order to provide a reasonable time to the prospective bidders.

    - UCO Bank reserves the right to seek clarification or call for supporting documents from any of the bidders, for which the concerned bidder need to submit the documentary evidence(s) as required by UCO Bank.

    - Any Bid, submitted with incorrect information will be liable for rejection. Further, if any bidder is found to have submitted incorrect information at any time, he may be debarred from participation in the future tendering processes of Bank.

    - The Bank does not bind itself to accept the lowest or any Bid and reserves the right to reject any or all Bids at any point of time prior to the issuance of purchase order without assigning any reasons whatsoever.

    - The Bank reserves the right to resort to re-tendering without providing any reason whatsoever. The Bank shall not incur any liability on account of such rejection.

    - The Bank reserves the right to modify any terms, conditions or specifications for submission of bids and to obtain revised Bids from the bidders due to such changes, if any at any time prior to completion of evaluation of technical bids from the participating bidders.

    - Canvassing of any kind or Bid submitted with false information will be a disqualification.

    - The bidder is required to guarantee that exchange rate fluctuations, changes in import duty and other taxes will not affect the Rupee value of the commercial bid over the price validity period.

    - Prices quoted by the Bidder shall be in Indian Rupees, and not subject to any price escalation, if the order is placed within the validity period.

    - Further, subsequent to the orders being placed, the Bidder shall pass on to the Bank all fiscal benefits arising out of reductions in Government levies if any.  The Bank shall be under no obligation to accept the technical solution offered or the lowest or any other offer received in response to this Limited Tender  notice.

    - The Bank reserves the right to reject any or all offers based on its own evaluation of the offers received, or on the basis of stability, capabilities, track records, reputation among users and other similar features of a bidder. When the Bank makes any such rejection, the Bank will not be bound to give any reason and/or justification in this regard to the bidder. The Bank further reserves the right to cancel the entire Limited Tender  process without assigning any reasons whatsoever at any stage of the Limited Tender  process without assigning any reason whatsoever.

    - The Bank reserves the right to modify any terms, conditions and specifications of this request for submission of offer and to obtain revised bids from the bidders with regard to such changes. The Bank reserves its right to negotiate with any or all bidders. The Bank reserves the right to accept any bid in whole or in part.

    - Bids once submitted shall not be returned to the Bidder in future.

    - The technical bid shall be submitted strictly in conformity with the Scope of Work.

    - The Bank expects the selected bidder to adhere to the terms of this  Limited Tender  document   and would not like or accept any deviations to the same.

- Cost of tender Documents

The intending bidders should pay the Cost of tender Documents of ` Rs 250/- (Rupees two hundred fifty only). The Cost of tender Documents shall be paid by Demand Draft / Banker’s Cheque / Pay Order drawn in favour of ‘UCO Bank’ payable at Kolkata. The Cost of tender Document is non-refundable. The bidder downloading the tender document from Bank’s website www.ucobank.com must pay the cost of the tender document, in a separate cover, at the time of submission of the bids.

- Earnest Money Deposit

The Bidder must submit Earnest Money Deposit (EMD) along with the Technical Bid in the form of DD/ Pay Order in favour of UCO Bank payable at Kolkata to the tune of Rs 5000/-( Five thousand only).

Non-submission of Tender fee & EMD will lead to outright rejection of the bid of the bidder. The EMD of unsuccessful bidders will be returned to them on completion of the tender process. The EMD of successful bidder will be returned on submission of Performance Bank Guarantee as specified hereunder.

The EMD made by the bidder will be forfeited if:

- The bidder withdraws his tender before processing of the same.

- In the case of a successful bidder, if the bidder fails in accordance with any Terms and Conditions or any requirement as specified in this document.

- The selected bidder withdraws his tender before furnishing an unconditional and irrevocable Performance Bank Guarantee.

- The bidder violates any of the provisions of the terms and conditions of this tender specification.

- Rejection of the Bid

The Bid is liable to be rejected if:

- The document doesn’t bear signature of authorized person on each page signed and duly stamped.

- It is received through Telegram/Fax.

- It is received after expiry of the due date and time stipulated for Bid   submission.

- Incomplete Bids, including non-submission or non-furnishing of requisite documents / Conditional Bids/ incorrect information in bid / Bids not conforming to the terms and conditions stipulated in this Request for proposal (Limited Tender) are liable for rejection by the Bank.

- Bidder should comply with all the points mentioned in the Limited Tender. Non-compliance of any point will lead to rejection of the bid.

- Any form of canvassing/lobbying/influence/query regarding short listing, status etc. will be a disqualification.

- If cost of tender & EMD has not submitted.

- If price bid is not filled up properly.

- Pre- Bid  Meeting

The queries for the Pre-bid Meeting should be reached in writing or by email on or before 14/08/2024 by 14.30 hrs It may be noted that no query from any bidder shall be entertained or received after the above mentioned date.

Pre-Bid meeting will be conducted on 14/08/2024 by 14.30 hrs  at Zonal Office, Salt Lake, 3 & 4 DD Block, Salt Lake, Kolkata-64.

Only authorized representatives of bidder will be allowed to attend the Pre-bid meeting at the venue on scheduled date & time.

- Modification and Withdrawal of Bids

No bid can be modified by the bidder subsequent to the closing date and time for submission of bids. In the event of withdrawal of the bid by successful bidders, the EMD will be forfeited by the Bank.

- Introduction and Disclaimer

This Limited Tender document has been prepared solely to enable UCO Bank

(“Bank”) to engage selected vendor through Limited Tender among the

empanelled Electrical vendors of our Bank for urgent renovation & repairing works

of Electrical Installation of our Howrah Branch ( SOL ID-0065) under Zonal Office

Salt Lake.

The Limited Tender document is not a recommendation, bid or invitation to enter into a contract, agreement or other arrangement in respect of the services.

- Information Provided

The tender document contains statements derived from information that is believed to be reliable at the date obtained but does not purport to provide all of the information that may be necessary or desirable to enable an intending contracting party to determine whether or not to enter into a contract or arrangement with Bank in relation to the provision of services.  Neither Bank nor any of its employees, agents, contractors, or advisers gives any representation or warranty, express or implied as to the accuracy or completeness of any information or statement given or made in this Limited Tender document.

- For Respondent Only

The Limited Tender document is intended solely for the information to the party to whom it is issued  ‘Vendor” and no other person or organization.

- Confidentiality

The Limited Tender document is confidential and is not to be reproduced, transmitted, or made available by the Recipient to any other party.  The Limited Tender document is provided to the Recipient on the basis of the undertaking of confidentiality given by the Recipient to Bank.  Bank may update or revise the tender document or any part of it. The Recipient acknowledges that any such revised or amended document is received subject to the same terms and conditions as this original and subject to the same confidentiality undertaking.

The Recipient will not disclose or discuss the contents of the tender document with any officer, employee, consultant, director, agent, or other person associated or affiliated in any way with Bank or any of its customers, suppliers, or agents without the prior written consent of Bank.

- Disclaimer

Subject to any law to the contrary, and to the maximum extent permitted by law, Bank and its officers, employees, contractors, agents, and advisers disclaim all liability from any loss or damage (whether foreseeable or not) suffered by any person acting on or refraining from acting because of any information, including forecasts, statements, estimates, or projections contained in this Limited Tender document or conduct ancillary to it whether or not the loss or damage arises in connection with any negligence, omission, default, lack of care or misrepresentation on the part of Bank or any of its officers, employees, contractors, agents, or advisers.

- Costs Borne by Bidders / Vendors

All costs and expenses incurred by bidders/ vendors in any way associated with

the development, preparation, and submission of responses, including but not

limited to attendance at meetings, discussions, demonstrations, etc. and

providing any additional information required by Bank, will be borne  entirely and

exclusively by the vendor.

- No Legal Relationship

No binding legal relationship will exist between any of the bidders/ vendors and Bank until execution of a contractual agreement.

1.15 -Errors and Omissions

Each bidder/ vendor should notify Bank of any error, omission, or discrepancy found in this tender document.

  - Acceptance of Terms

A bidder will, by responding to Bank limited tender, be deemed to have accepted the terms as stated in the limited tender.

1.17     Limited Tender Response

If the response to this limited tender does not include the information required or is incomplete or submission is through Fax mode or through e-mail, the response to the Limited Tender is liable to be rejected.

All submissions will become the property of Bank. Recipients shall be deemed to license, and grant all rights to, Bank to reproduce the whole or any portion of their submission for the purpose of evaluation, to disclose the contents of the submission to other Recipients who have registered a submission and to disclose and/or use the contents of the submission as the basis for any resulting Limited Tender process, notwithstanding any copyright or other intellectual property right that may subsist in the submission or Banking documents.

1.18  Response Validity Period

Tender response will remain valid and open for evaluation according to their terms for a period of at least 1 year from the time the Tender response submission process closes.

1.19-Notification

Bank will notify the outcome of the Limited Tender evaluation process on Bank’s website. Bank is not obliged to provide any reasons for any such acceptance or rejection.

  - Language of Bids

The bid, correspondence and supporting documents should be submitted in English.

  - Indemnity

The bidder shall indemnify the Bank and be liable for any loss or damage suffered by the Bank due to malfunctioning of the system as supplied and installed by them.  The total liability of the selected bidder  shall not exceed the total cost of the order value.

  - Authorized Signatory

The selected bidder shall indicate the authorized signatories who can discuss, sign negotiate, correspond and any other required formalities with the bank, with regard to the obligations. The selected bidder shall submit, a certified copy of the resolution of their Board, authenticated by Company Secretary, authorizing an official or officials of the company to discuss, sign with the Bank, raise invoice and accept payments and also to correspond. The bidder shall furnish proof of signature identification for above purposes as required by the Bank.

1.23. Integrity Pact

UCO Bank has adopted practice of Integrity Pact ( IP) as per CVC guidelines.

The integrity pact essentially envisage an agreement between the rospective vendors/ bidders sellers, who commit themselves to Integrity pact ( IP) with the bank would be considered competent to participate in the bidding process. In other words entering into this pact would be the preliminary qualification. In case of bids for the installation of Fire Hydrants not companied with signed IP by the bidders along with Technical bid, the offers shall be summarily rejected.

The essential ingredients of the Pact include :

a) Promise on the part of the principal not to seek or accept any benefit ,

which is not legally available.

b) Principal to treat all bidders with equity and reason,

c) Promise on the part of bidders not to offer any benefit to the employees of

the Principal not available legally.

d) Bidders not to enter into any undisclosed agreement or understanding with

other bidders with respect of prices, specifications, certifications, subsidiary

contract etc.

e) Bidders not to pass any information provided by the Principal as part of

business relationship to others & not to commit any offence under IPC Act.

Integrity pact, in respect of a particular contract shall be operative from the date IP is signed by both the parties till the final completion of the contract. Any violation of the same would entail disqualification of the bidder and exclusion from future business dealings. IP shall cover all phases of contract from the stage of Limited Tender ( NIT) till the conclusion of the contract ie final payment or the duration of warranty. Format of IP is attached as Annexure-C.

The following two Independent External Monitor ( IEM) have been appointed by UCO bank who will review independently and objectively whether and to what extent parties have complied with their obligation under the pact.

1.  Shri  Ranjan S katoch                                          2. Shri Hare Krushna Dash

A-91, Alkapuri,                                                        House No-829, Sector-8

Bhopal, MP, PIN-462022                                      Gandhinagar-382007, Gujrat

( e-mail ID- rkatoch@nic.in )                         (e-mail : hkdash184@gmail.com)

PART - II

## 2. 1.  Commercial /Price Bid evaluation process

The Commercial Bids of only qualified bidders will be opened and evaluated by the Bank and the evaluation will take into account the following factors:

2.2. The L1 Bidder will be selected on the basis of the total amount quoted for proposed renovation / repairing work.

2.3. The bidder will be solely responsible for complying with any applicable Export / Import Regulations. The Bank will no way be responsible for any deemed Export benefit that may be available to the bidder.

2.4. In case there is a variation in value between numbers and words; the value mentioned in words would be considered.

2.5. The Bidder needs to provide Unit costs for components and services; unit rates with applicable taxes would be considered for the TCO purposes.

2.6. In the event the vendor has not quoted or mentioned the component or services required, for evaluation purposes the highest value of the submitted bids for that component or service would be used to calculate the TCO. For the purposes of payment and finalization of the contract, the value of the lowest bid would be used.

Part –III- Scope of Work & Price Bid

3.1. The details of Scope of Work is given in Annexure-I including Price Bid.

3.2 - Scope of Outsourcing / Engagement of Third Party

The selected L-I bidder will have no scope under any circumstances to          outsource the service or engagement of third party for the service.

3.3. -Modification of Scope of Work

Bank may modify the scope of work at its own discretion at any point of time.

Part-IV

4.1     Order details

The work order will be placed by the Bank to the selected L-I vendor by  Zonal Office, Salt Lake, UCO Bank. The payment will be made by concerned branch where the work will be done.

After receiving the work order the selected L-I bidder has to complete the work within next 07 days without any delay.

4. 2     Payment Terms

Bank will make the payment subject to checking the work by any qualified

Architect/ Engineer.

4.3     Completeness of the Project

The project will be deemed as incomplete if the desired objectives of the project as mentioned in Section “Scope of Work” of this document are not achieved.

4.4- Order Cancellation

The Bank reserve its right to cancel the order in the event of one or more of the following situations, that are not occasioned due to reasons solely and directly attributable to the Bank alone:

- Delay in commissioning / implementation / beyond the specified period.

- Serious discrepancy in the quality of service expected during the implementation, rollout and subsequent maintenance process.

- In case of cancellation of order, any payments made by the Bank to the Vendor would necessarily have to be returned to the Bank, further the Vendor would also be required to compensate the Bank for any direct loss suffered by the Bank due to the cancellation of the contract/purchase order and any additional expenditure to be incurred by the Bank to appoint any other Vendor. This is after repaying the original amount paid.

- Vendor should be liable under this section if the contract/ purchase order has been cancelled in case sum total of penalties and deliveries equal to exceed 10% of the TCO.

4.5     Indemnity

Vendor shall indemnify, protect and save the Bank and hold the Bank harmless from and against all claims, losses, costs, damages, expenses, action suits and other proceedings, (including reasonable attorney fees), relating to or resulting directly or indirectly from (i) an act or omission of the Vendor, its employees, its agents, or employees of the consortium in the performance of the services provided by this contract, (ii) breach of any of the terms of this LIMITED TENDER or breach of any representation or warranty by the Vendor, (iii) use of the deliverables and or services provided by the Vendor, (iv) infringement of any patent, trademarks, copyrights etc. or such other statutory infringements in respect of all components provided to fulfil the scope of this project. Vendor shall further indemnify the Bank against any loss or damage to the Bank premises or property, loss of life, etc., due to the acts of the Vendor’s employees or representatives.  The Vendor shall further indemnify the Bank against any loss or damage arising out of claims of infringement of third-party copyright, patents, or other intellectual property, and third-party claims on the Bank for malfunctioning of the equipment or software or deliverables at all points of time, provided however, (i) the Bank notify the vendor in writing immediately on becoming aware of such claim, (ii) the Vendor has sole control of defence and all related settlement negotiations, (iii) the Bank provides the Vendor with the assistance, information and authority reasonably necessary to perform the above, and (iv) the Bank does not make any statement or comments or representations about the claim without prior written consent of the Vendor, except under due process of law or order of the court. It is clarified that the vendor shall in no event enter into a settlement, compromise or make any statement (including failure to take appropriate steps) that may be detrimental to the Bank (and/or its customers, users and service providers) rights, interest and reputation.

Vendor shall be responsible for any loss of life, etc, due to acts of Vendor’s representatives, and not just arising out of gross negligence or misconduct, etc., as such liabilities pose significant risk.

Vendor should take full responsibility for its and its employee’s actions.

The vendors should indemnify the Bank (including its employees, directors or representatives) from and against claims, losses, and liabilities arising from:

- Non-compliance of the vendor with Laws / Governmental  Requirements

- Non-functioning of equipments fitted with CCVs more than week.

- Negligence and misconduct of the Vendor, its employees, and agents

- Breach of any terms of Limited Tender,

- Act or omission in performance of service.

Indemnity would be limited to court; tribunal or arbitrator awarded damages and shall exclude indirect, consequential and incidental damages.  However indemnity would cover damages, loss or liabilities suffered by the Bank arising out of claims made by its customers and/or regulatory authorities.

The vendor shall not indemnify the Bank for

(i)  Any loss of profits, revenue, contracts, etc.

(ii) Any consequential or indirect loss or damage however caused, provided that the claims against customers, users and service providers of the Bank would be considered as a “direct” claim.

4.6    Publicity

Any publicity by the Selected bidder in which the name of the Bank is to be used should be done only with the explicit written permission of the Bank.

4.7    Privacy & Security Safeguards

The Selected bidder shall not publish or disclose in any manner, without the Bank's prior written consent, the details of any security safeguards designed, developed, or implemented by the Selected bidder under this contract or existing at any Bank location. The Selected bidder shall develop procedures and implementation plans to ensure that any data and sensitive information regarding remittance of cash shall not publish or disclose in any manner, without the Bank's prior written consent.

4.8    Resolution of Disputes

The Bank and the supplier Vendor shall make every effort to resolve amicably, by direct informal negotiation between the respective project directors of the Bank and the Vendor, any disagreement or dispute arising between them under or in connection with the contract.

If the Bank project director and Vendor project director are unable to resolve the dispute after thirty days from the commencement of such informal negotiations, they shall immediately refer the dispute to the senior authorised personnel designated by the Vendor and Bank respectively.

If after thirty days from the commencement of such negotiations between the senior authorised personnel designated by the Vendor and Bank, the Bank and the Vendor have been unable to resolve amicably a contract dispute, either party may require that the dispute be referred for resolution through formal arbitration.

All questions, disputes or differences arising under and out of, or in connection with the contract or carrying out of the work whether during the progress of the work or after the completion and whether before or after the determination, abandonment or breach of the contract shall be referred to arbitration by a sole Arbitrator: acceptable to both parties OR the number of arbitrators shall be three, with each side to the dispute being entitled to appoint one arbitrator. The two arbitrators appointed by the parties shall appoint a third arbitrator who shall act as the chairman of the proceedings. The award of the Arbitrator shall be final and binding on the parties. The Arbitration and Conciliation Act 1996 or any statutory modification thereof shall apply to the arbitration proceedings and the venue of the arbitration shall be Kolkata.

If a notice has to be sent to either of the parties following the signing of the contract, it has to be in writing and shall be first transmitted by facsimile transmission by postage prepaid registered post with acknowledgement due or by a reputed courier service, in the manner as elected by the Party giving such notice. All notices shall be deemed to have been validly given on (i) the business date immediately after the date of transmission with confirmed answer back, if transmitted by facsimile transmission, or (ii) the expiry of five days after posting if sent by registered post with A.D., or (iii) the business date of receipt, if sent by courier.

This Limited Tender document shall be governed and construed in accordance with the laws of India.  The courts of Kolkata alone and no other courts shall be entitled to entertain and try any dispute or matter relating to or arising out of this Limited Tender document.  Notwithstanding the above, the Bank shall have the right to initiate appropriate proceedings before any court of appropriate jurisdiction, should it find it expedient to do so.

4.9     Exit Option and Contract Re-Negotiation

The Bank reserves the right to cancel the contract in the event of happening one or more of the following Conditions:

    - Failure of the Selected bidder to accept the contract / purchase order and furnish the Performance Guarantee within 30 days of receipt of purchase contract,

    - Serious discrepancy in functionality to be provided or the performance levels agreed upon, which have an impact on the functioning of the Bank.

    - Serious discrepancy in providing required Service regarding remittance of cash.

In addition to the cancellation of work order, Bank reserves the right to appropriate the damages through encashment of Bid Security / Performance Guarantee given by the Selected Bidder.

The Bank will reserve a right to re-negotiate the price and terms of the entire contract with the Selected Bidder at more favourable terms in case such terms are offered in the industry at that time for projects of similar and comparable  scope and quality.

The modalities under this right to re-negotiate /re-procure shall be finalized at the time of contract finalization.

Notwithstanding the existence of a dispute, and/or the commencement of arbitration proceedings, the Selected Bidder will be expected to continue the services. The Bank shall have the sole and absolute discretion to decide whether proper reverse transition mechanism over a period of 6 to 12 months, has been complied with. In the event of the conflict not being resolved, the conflict will be resolved through Arbitration.

4.10    Corrupt and Fraudulent Practices

As per Central Vigilance Commission (CVC) directives, it is required that Bidders / Suppliers / Contractors observe the highest standard of ethics during the procurement and execution of such contracts in pursuance of this policy:

“Corrupt Practice” means the offering, giving, receiving or soliciting of anything of values to influence the action of an official in the procurement process or in contract execution AND

“Fraudulent Practice” means a misrepresentation of facts in order to influence a procurement process or the execution of contract to the detriment of the Bank and includes collusive practice among bidders (prior to or after bid submission) designed to establish bid prices at artificial non-competitive levels and to deprive he Bank of the benefits of free and open competition.

The Bank reserves the right to reject a proposal for award if it determines that the bidder recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question.

The Bank reserves the right to declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a contract if at any time it determines that the firm has engaged in corrupt or fraudulent practices in competing for or in executing the contract.

4.11    Termination

The Bank shall be entitled to terminate the agreement with the Selected bidder at any time by giving thirty (30) days prior written notice to the Selected bidder.

The Bank shall be entitled to terminate the agreement at any time by giving notice if:

- The Selected bidder breaches its obligations under the scope document or the subsequent agreement and if the breach is not cured within 30 days from the date of notice.

- The Selected bidder (i) has a winding up order made against it; or (ii) has a receiver appointed over all or substantial assets; or (iii) is or becomes unable to pay its debts as they become due; or (iv) enters into any arrangement or composition with or for the benefit of its creditors; or (v) passes a resolution for its voluntary winding up or dissolution or if it is dissolved. The Selected bidder shall have right to terminate only in the event of winding up of the Bank.

In the event of termination of the Contract due to any cause whatsoever, [whether consequent to the stipulated term of the Contract or otherwise], UCO BANK shall be entitled to impose any such obligations and conditions and issue any clarifications as may be necessary to ensure an efficient transition and effective business continuity of the Service(s) which the selected Vendor shall be obliged to comply with and take all available steps to minimize loss resulting from that termination/breach, and further allow the next successor Vendor to take over the obligations of the erstwhile Vendor in relation to the execution/continued execution of the scope of the Contract.

Bank shall have the right to initiate appropriate proceedings before any court of appropriate jurisdiction, should it find it expedient to do so.

4.12    Effect of termination

The Selected bidder agrees that it shall not be relieved of its obligations   under the reverse transition mechanism notwithstanding the termination of the assignment.

Reverse Transition mechanism would typically include service and tasks that are required to be performed / rendered by the Selected bidder to the Bank or its designee to ensure smooth handover and transitioning of Bank’s deliverables and maintenance.

Same terms (including payment terms) which were applicable during the term of the contract/ purchase order should be applicable for reverse transition services.

The Selected bidder agrees that after completion of the Term or upon earlier termination of the assignment the Selected bidder shall, if required by the Bank, continue to provide maintenance services to the Bank at no less favorable terms than those contained in this scope document. In case the bank wants to continue with the Selected bidder's services after the completion of this contract/ purchase order then the Selected bidder shall offer the same or better terms to the bank. Unless mutually agreed, the rates shall remain firm.

The Bank shall make such prorated payment for services rendered by the Selected bidder and accepted by the Bank at the sole discretion of the Bank in the event of clause of termination, provided that the Selected bidder is in compliance with its obligations till such date. However, no payment for “costs incurred, or irrevocably committed to, up to the effective date of such termination” will be applicable to Selected Bidder. There shall be no termination compensation payable to the Selected bidder.

Termination shall not absolve the liability of the Bank to make payments of undisputed amounts to the Selected bidder for services rendered till the effective date of termination. Termination shall be without prejudice to any other rights or remedies a party may be entitled to hereunder or at law and shall not affect any accrued rights or liabilities or either party nor the coming into force or continuation in force of any provision Selected Bidder hereof which is expressly intended to come into force or continue in force on or after such termination.

4.13   Arbitration

All dispute or differences whatsoever arising between the Selected bidder and the Bank out of or in relation to the construction, meaning and operation, with the Selected bidder, or breach thereof shall be settled amicably.  If, however, the parties are not able to resolve any dispute or difference aforementioned amicably, the same shall be settled by arbitration in accordance with the Rules of Arbitration of the Indian Council of Arbitration and the award made in pursuance thereof shall be binding on the parties.  The Arbitrator / Arbitrators shall give a reasoned award.

Work under the Contract  shall be continued by the Selected bidder during the arbitration proceedings unless otherwise directed in writing by the Bank unless the matter is such that the work cannot possibly be continued until the decision of the arbitrator or of the umpire, as the case may be, is obtained and save as those which are otherwise explicitly provided in the Contract, no payment due to payable by the Bank, to the Selected bidder shall be withheld on account of the ongoing arbitration proceedings, if any unless it is the subject matter or one of the subject matters thereof. The venue of the arbitration shall be at KOLKATA, INDIA.

4.14   Applicable law & Jurisdiction of court

The Contract with the Selected bidder shall be governed in accordance with the Laws of India for the time being enforced and will be subject to the exclusive jurisdiction of Courts at Kolkata (with the exclusion of all other Courts).

4.15   Non-Assignment Clause

The selected L-1 bidder/ vendor will be responsible to execute the project under scope of work and will not out source the work or will not engage / assign any other vendor/ contractor/supplier to execute the required work.

Annexure-I

| Scope of Work : Repairing & Renovation of Electrical Installation of Howrah Branch |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sl. No. | Description of Item | Qnty. | Unit | Rate (Rs.) | Amount (Rs.) |
| 1 | Dismantling of old and damaged main switches switch boards and wiring incl disconnection and other required works etc. | 1 | LS |  |  |
| 2 | Supply, erection, testing and commissioning of 4-way Vertical DB double door made out of 16 SWG CRCA Sheet, dust and vermin proof, wall mounting in recess / surface consisting of the following Incomer 125 Amps FP Pole 36 kA MCCB-1 no Outgoing 63 Amps TP MCB-1 Nos 6-32 Anp SP MCB - 8 Nos | 1 | Nos |  |  |
| 3 | Supplying and fixing of 415V. 125 Amp TPN on load front operated Changeover switch with Sheet Steel enclosure on angle iron frame on wall with nuts bolts etc. | 1 | Nos |  |  |
| 4 | Supplying and fixing of 4-way double door Horizontal TPN MCB Distribution board with IP-42/43 protection, concealed in wall after cutting the wall & mending good the damages to original finish incl. Inter connection with suitable size of copper wire and neutral link & provision for earthing attachment Incoming. 63 Amp FP pole Isolator-1 No Outgoing: 6-32 Amp SP MCB-12 Nos | 1 | Nos |  |  |
| 5 | Supplying and fixing of 2 + 12 way double-door SPN MCB Distribution Board with IP-42/43 protection concealed in wall after cutting the wall & mending good the damages to original finish incl Inter connection with suitable size of copper wire and neutral link & provision for earthing attachment. Incoming 40 Amp DP isolator- 1No Outgoing 6-32 Amp SP MCB-12 Nos | 4 | Nos |  |  |
| 6 | Supplying and fixing of 32 Amp DP MCB on suitable MS box with IP-42/43 protection, concealed in wall after cutting the wall & mending good the damages to original finish incl Inter connection with suitable size of copper wire and neutral link & provision for earthing |  |  |  |  |
| 7 | Supplying and Laying of cable upto 4 core 25 sqmm on wall/surface incl S & F MS saddles with earthing attachment in 10 SWG GI (Hot Dip) Wire, making holes etc as necy mending good damages and painting | 40 | Mtrs |  |  |
| 8 | Distribution wiring in 2 * 22i * 0 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed copper wire Brand approved by EIC) in 20mm size PVC rigid conduit FR' (Precision make), with 1 * 22 / 0.2 (15 sqmm) single core stranded 'FR' PVC insulated & unsheathed copper wire for ECC, to light/fan/call bell points with modular type switch fixed on MS CRC sheet metal (16 SWG) switch board cum JB on wall complete top cover incl. 175mmx100mmx65mm inspection box, making earthing attachment, painting the MS box and mending good the damages to original finish (Av. run -9 mtrs) | 94 | Pts |  |  |
| 9 | On Board | 12 | Pts |  |  |
| 10 | Distribution wiring in 1.1 KV single core stranded FR PVC insulated & unsheathed copper wire (Brand approved by EIC) in 20mm size PVC rigid conduit FR (Precision make) incl. necy fittings as required |  |  |  |  |
| 10 | 3 * 1.5 sq.mm | 280 | Mtrs |  |  |
| 10 | 2*2 5 + 1 * 1.5se mm | 130 | Mtrs |  |  |
| 10 | 2 * 40 + 1 * 2.5sqmm | 230 | Mtrs |  |  |
| 10 | 2 * 6 + 1 * 4 sq mm | 80 | Mtrs |  |  |
| 11 | Supply & Fixing 240 V, 2 nos 6 A & 2 nos 20 A plug 3 pin Modular type plug socket with 2 nos. 6A & 2 nos 20 A Modular type switch (Brand approved by EIC), 20A Modular switch type SP MCB (C-Curve) and Indicator without plug top on 2 row 12 Module GI Modular type switch board with 2 row 12 Module top cover plate flushed in wall incl S&F switch board and cover plate and making necy connections with PVC Cu wire and earth continuity wire etc. | 15 | Nos |  |  |
| 12 | Supply and fixing of 25 Amp modular type socket with 2 module front plate and pvc box incl required accessories complete all | 7 | Nos |  |  |
| 13 | Supply & Fixing 240 V, 25 A Modular type starter (Brand approved by EIC) with 25A Modular switch type DP MCB (CCurve) and 4 Module Gi Modular type switch board with 4 Module top cover plate flushed in wall incl SSF switch board and cover plate and making necy. connections with PVC Cu wire and earth continuity wire etc. | 7 | Nos |  |  |
| 14 | Supply & Fixing of twin fluorescent LED light fitting suspended 25 cm bellow the ceiling with 2 No 20 mm dia El conduit (14 SWG) supports fixed with "L" type MS clamp whose one side fixed on ceiling with suitable size 4 nos fastener and other side connected with the conduit with suitable size of bolts and nuts incl. S&F El conduit "L" type (125mmx125mm) 6mm thick and 25mm with MS clamps and connecting the length of PVC insulated wire and mending good damages to original finish and painting etc. by 2x24/0.20 mm (1.5sqmm.) flexible copper wire of 1.10 mt. length | 55 | Nos |  |  |
| 15 | Refixing of fan incl required accessories complete all | 25 | Nos |  |  |
| 16 | Supply and fixing of modular type fan regulator | 25 | Nos |  |  |
| 17 | Supply and fixing of 36-watt LED 2ft/2ft ceiling light incl. necessary accessories complete all. | 6 | Nos |  |  |
| 18 | Supply and fixing of 15-watt LED ultra slim round fittings incl required accessories complete all. | 6 | Nos |  |  |
|  | Total Amount |  |  |  |  |

( Amount in Words)…………………………….

Submitted

Signature & Stamp