27.12.2022

CORRIGENDUM – Supply, Installation and Maintenance of CCTV Surveillance System & Integrated Fire cum Burglar Alarm Systems at the Bank Branches under Bhubaneswar Zone

RFP ref. no. UCO/ZO/BBSR/SEC/01/2022-23 Dated: 16.12.2022

In accordance with the provisions contained in the subject RFP, a Pre- bid Meeting was held at UCO Bank Zonal Office Bhubaneswar, Conference Room at 1500hrs on 22nd of December 2022. Representatives of three vendors participated in the Pre Bid Meeting and following points were discussed and deliberated upon:

| S.N. | Points discussed | Decision Taken |
| --- | --- | --- |
| 1. | Page 57, point no. 10 quantity of cameras not mentioned | Agreed to mention quantity as 10 |
| 2. | It was suggested by one of the vendors that option for 3+1 copper cable instead of RG-6 Video cable and separate power cable be given (Page 57, point no.20) | Not agreed |
| 3. | Point no. 21 page 57 to read “ PVC Conduit Pipe preferably Polycab/Finolex” | Agreed |
| 4. | Page 57, point no. 22 and 23 – quantities be mentioned as 5 metres each | Agreed |
| 5. | Page 57, point no. 24 to be deleted being repetition of point no.20 | Agreed |
| 6. | Page 57, Point no.25- quantity of cable to be mentioned as 100 metres | Agreed |
| 7. | Page 57, Point no.27- Power supply to be mentioned as 12V, 5 Amp instead of 6 Amp | Agreed |
| 8. | Additions were suggested for RFQ like: | Agreed |
|  | Wall Mount Monitor stand -1 | Agreed |
|  | DC Pin- 16 (no) | Agreed |
|  | BNC Pin – 32 (no) | Agreed |
|  | USB Cable -5 m (no) | Agreed |

Duly amended financial Bid Format is enclosed herewith.

General Manager & Zonal Head